## Sheet1
Main Filter | Sub Filter | Image of the product | Name of the product | Description
UL Electrodevices | Relays | Industrial Relays | Industrial Relays | Industrial Relays : Product Details Available in 1 /2/3/4 Change Over contacts Rated Contact Switching current up to 48A Coil Voltage available DC : 5/12/24/48/60/80/110/125/ 220 V AC : 6/12/24/42/48/60/80/110/115/120/127/220/230/240 Versions with coil overvoltage suppression Versions with Flag indicators & Manual relay Test Push Buttons with the possibility of latching the normally open contacts closed Mounting on PCB; Plug-in Socket; 35 mm DIN Rail Screw & Spring terminals of Plug-in Sockets ROHS; CE; VDE;
|  | Miniature Relays | Miniature_Relays_-_RM699V | Miniature Relays : Product Details Rated Contact Switching current up to 20 A Wide Range of Coil Voltages available DC : 5/12/24/48/60/80/110/125/ 220 V AC : 6/12/24/42/48/60/80/110/115/120/127/220/230/240 Height from 10.5 – 26 mm High Electric Strength of Insulation Mounting on PCB; Plug-in Socket & SMT ROHS; CE; VDE;
|  | Relays for Photovoltaic Systems | Relays_for_Photovoltaic_Systems_-_RS35 | Relays for Photovoltaic Systems : Product Details Electromagnetic relays are applied in solar systems for two main purposes 1. At the DC side, they switch on and off the DC voltage generated by photovoltaic cells. 2. At the AC side, they connect to / disconnect the entire system from the power network. Rated Contact Switching current 16 A ---48 A Contact clearance of minimum 1.5 mm. Resistance of the contact clearance to surge voltage of 2500 V. Low Power consumption of coil of 0.4 W Popular Types RS35/ RS50/ RUC/ RUC-M Mounting on PCB Approvals- ROHS; CE; VDE; DIN VDE 0126-1-1
|  | Forcibly Guided Contact Relays | Forcibly Guided Contacts Relay 2 | Forcibly Guided Contact Relays : Product Details RelayRelays with forcibly guided contacts are normative elementary relays according to IEC 61810-1. These electromechanical components consists of a special set of contacts in accordance with EN 50205 (IEC 61810-3 in the future), in which all contacts are connected together so that NO and NC contacts are never closed simultaneously in the failed condition. In opposition to standard relays, this allows for monitoring the switch position of the relay, even if one of the contacts does not open, e.g. when a contact is welded. The main application areas of our relays are currently Industrial Automation Robotics Mechanical Engineering Laser and Welding Technology Medical Technology Elevators / Lifting Systems Process Technology Railway Engineering Combustion Plants Building Control No of Contact : 2- 10 Switching Current : 5mA ----16 A Excitation voltages of 3 VDC to 220 VDC
| SMPS | SMPS | SMPS1 | SMPS : Product Details DELTA Series One- and three-phase 10 W to 960 W Configurable in parallel Open circuit and continuous short-circuit proof Redundant operation with integrated isolation High efficiency Protection classes 1 and 2 UL and Class 1 Div.2, A,B,C,D, T4 Outstanding value for money Long service life Single Phase & Three Phase Diode Redundancy Module
|  | Single Phase & Three Phase | Single_Phase_Three_Phase_-_722759 | Single Phase & Three Phase : Product Details Page Under Construction
|  | Diode Redundancy Module | Diode_Redundancy_Module_-_722987 | Diode Redundancy Module : Product Details Page Under Construction
| Signal Isolators & Converters | Signal Isolators & Converters | Signal_IsolatorsConvertors_-_750510 | Signal Isolators & Converters : Product Details Page Under Construction
| Protocol Converter | Anybus Communicator | Anybus Communicator | Anybus Communicator : Certified and proven Communicator family connecting automation devices via their Serial interface RS-232/422/485/ASCII/Modbus RTU/DF1/Customize Protocol To Fieldbus and Industrial Ethernet protocols. Multi-drop upto 31 Slaves. No hardware or software changes are required for the connected automation device. Compatible with PLC's from leading manufacturers such as Siemens, Rockwell, Schneider Electric etc. Available in Profibus, Profinet, DeviceNet, Ethernet/IP, Modbus TCP & many more protocols. Included “Anybus Configuration Manager” with flexible serial frame building capabilities. Handy Save/Load function means a completed configuration can be re-used for many other Installations. Approved.
|  | Anybus X-Gateway – Network to Network & IIoT Gateway | AB7800-Anybus X-Gateway | Anybus X-Gateway – Network to Network & IIoT Gateway : Simple way to transmit I/O data between any two different Industrial Networks Over 300 different network combinations (Master, scanner, slave, adapter, I/O device, server) Connects different PLC systems (Siemens, Rockwell, Schneider, Mitsubishi, Omron, Beckhoffetc) Max 512 bytes of Input and 512 bytes of Output data. I/O data transfer with average throughput between networks of 10 -15 ms Configuration via USB using the included AnybusConfiguration Manager -No programming required! IT functions such as dynamic Web server, supporting downloadable customer specific web pages. Remote monitoring and diagnostic features for most Ethernet versions via an integrated Web server Included AnybusOPC server for extended functionality with Ethernet versions. Anybusmaster configuration tool included free of charge with a Profibus, DeviceNetor EtherNet/IP Master/Scanner. Haz. Loc ,RoHS, CE, UL & cUL Approved.
|  | Intesis BACnet Gateways | Anybus - Intesis - BACNet | Intesis BACnet Gateways : Handles conversion between Modbus(RTU, ASCII, TCP) and BACnet/IP. Manages ModbusTCP and Modbusserial simultaneously. Connects up to 30 Modbusserial devices to BACnet(processing up to 1000 Modbusregisters). Each connected Modbusdevice appears as an individual BACnet-compliant device. + Excel tool and instructions for creating ModbusDevice Profiles are available on Anybus.com. A resident web server allows for commissioning, and troubleshooting via a standard web browser. Comes in a rugged IP30 metal housing that mounts on 35-mm DIN-rail. A reset switch is provided for returning to the factory default IP address. LED indicators provide communication status on both the Ethernet and serial ports. CE, UL Approved.
|  | Ixxat IEC61850 / IEC60870-104 SG-Gateway | Anybus - IEC61850 or IEC60870-104 Gateway | Ixxat IEC61850 / IEC60870-104 SG-Gateway : Easy way to transport I/O data from the field to SCADA Systems. Several communication protocols are supported (IEC61850 client/server, IEC60870-5-104 server, ModbusTCP client, ModbusRTU master). Transmission over GSM/GPRS or Ethernet. Connecting serial devices over RS232/RS485/RS422 4 digital inputs & digital outputs. Easy web based configuration using any standard browser Optional CODESYS soft-PLC supporting IEC61131-3 software
|  | Modbus Gateway | AnybusModbusRTUtoTCP | Modbus Gateway : Proven and trusted in thousands of Modbus applications. Operating Modes: Virtual Com, Serial Tunnel, TCP Server, TCP Client, UDP, Modbus Gateway Serial port (RS232/RS485/RS422) and Ethernet port (10/100 Mbit) Connect up to 32 Modbus RTU slaves per port. Dual redundant Ethernet support with recovery time< 10ms Configurable by Web-based and Windows utility Available in 1,4,8,16 Serial ports.
|  | CAN Open Solution for Siemens | CAN Open Solution for Siemens | CAN Open Solution for Siemens : The 1SI CANopen is a plug-in module between the SIMATIC ET200S and any device running CANopen. You attach the 1SI CANopen to the ET200S and set up how you want the data to flow in the accompanying Anybus Configuration Manager CANopen software. The CM CANopen is a plug-in module between the SIMATIC S7-1200 PLC and any device running CANopen. You attach the CM CANopen to the S7-1200 and set up how you want the data to flow in the accompanying Configuration Studio Software. Supports transparent CAN 2.0A for custom protocol handling. (11-bit CAN identifiers). Supports transparent CAN 2.0A for custom protocol handling. (11-bit CAN identifiers).
|  | Master Simulators | Master Simulator | Master Simulators : The user friendly application makes it easy to configure, initialize and communicate with the slave/ adapter devices. Its ideal for test wiring for inputs and outputs. No need of external power supply. Ideal for portable usage with laptops and notebooks. RS232 adapter, serial cable, CD and software for Profibus DP/DPV1 . Serial USB adapter, CD and software for DeviceNet ,CANopen . Ethernet cable & Software for Profinet.
|  | Process Automation Gateways | Din_Rail_Mounted_Fieldbus_Gateways | Process Automation Gateways : DIN rail mounted fieldbus gateways used for converting one protocol to other protocol from FINT, Norway Suitable for system integrators wishing to incorporate legacy equipment into their designs and instrument manufacturers wishing to extend their market for existing products. Module width 23 mm. No special programming is required to set up the device. Includes a master in order to communicate with instruments. Any communication problem will be reported in the Diagnostics message. T310, Modbus RTU to HART converter T501 HART to Profibus DP DIN rail mounted gateway T511 Modbus to Profibus DP DIN rail mounted gateway T500 HART to Profibus PA DIN rail mounted gateway T510 Modbus to Profibus PA DIN rail mounted gateway T710 Modbus RTU to Foundation DIN rail mounted gateway T700 HART to Foundation DIN rail mounted gateway
|  | OEM Built-in Modules | OEM Built In Boards | OEM Built-in Modules : Built-in boards for any field process transmitters from FINT, Norway. Suitable for OEM’s & Instrument manufacturers who want to incorporate new communication protocols into their designs and instruments to extend their market for existing products. Compact module size suitable for field applications Development support available for the users T280, HART adapter with analog input T210, Modbus RTU to HART converter T810, The Wireless HART adapter with Modbus RTU interface T410 Modbus RTU to Profibus PA built-in converter T600 built-in FF converter for HART instruments T610_C FF built-in module for customized applications T610_B Modbus® to FF built-in converter for actuators and positioners. T610 Modbus to FOUNDATION fieldbus converter
|  | Anybus .Net Gateway | Anybus DotNet-Gateway | Anybus .Net Gateway
|  | Anybus M-Bus to Modbus TCP Gateway | Anybus M-Bus to Modbus TCP Gateway | Anybus M-Bus to Modbus TCP Gateway
|  | Anybus IIoT Gateway - Serial, Fieldbus, Ethernet to OPC UA & MQTT | AB7079-Anybus IIoT Gateway | Anybus IIoT Gateway - Serial, Fieldbus, Ethernet to OPC UA & MQTT
|  | Ixxat CAN Interface Series for USB | Anybus - Ixxat USB CAN Interfaces | Ixxat CAN Interface Series for USB
|  | Ixxat CAN Repeater | Anybus - CAN Repeater | Ixxat CAN Repeater
| Ethernet | Unmanaged Ethernet Switches | Unmanaged Ethernet Switch | Unmanaged Ethernet Switches : C1D2 and ATEX compliant for harsh industrial environments application Compact IEEE 802.3 Layer 2 industrial switches Plug-and-play functionality. Support store and forward transmission Duplex and cable sensing Support auto-negotiation and auto MDI/MDI-X Hardened for the toughest applications SM, MM FO, Giga Ports available. Fastest Redundant Ethernet Ring-(recovery time < 10ms over 250 units of connection) Multiple Redundant Ethernet technology RSTP/STP
|  | Managed Ethernet Switches | Managed Switch | Managed Ethernet Switches : Layer 2 and Layer 3 Ethernet switches Fastest Redundant Ethernet Ring-(recovery time < 10ms over 250 units of connection) Multiple Redundant Ethernet technology RSTP/STP Configurable by Web-based Gigabit modules available Rugged, enterprise-class networking Advanced security features Rugged industrial DIN rail and Rack mount options Available in SM, MM FO with 5 to 32 ports.
|  | Power Over Ethernet (PoE) | Power Over Ethernet - POE | Power Over Ethernet (PoE) : Industrial power over Ethernet (POE) & POE++ IEEE 802.3 Layer-2,Layer-3 industrial switches Transmits power and data over Ethernet networks Recovery time < 30ms over 250 units of connection MSTP(RSTP, STP compatible) for Ethernet redundancy P.S.E fully compliant with IEEE 802.3at standard, provides up to 30W per port Supports power up to 120W Managed, Unmanaged, SM, MM FO, Giga Ports available Din-rail and wall mount design C1D2 Approved.
|  | IEC 61850 | IEC_61850_Compliant_Switches2 | IEC 61850 : Tested for IEC 61850 and IEEE 1613 IEEE 802.3 Layer-2,Layer-3 industrial switches Fastest Redundant Ethernet Ring-(recovery time < 10ms over 250 units of connection) Multiple Redundant Ethernet technology RSTP/STP/MSTP Configurable by Web-based Gigabit modules available Rugged, enterprise-class networking Advanced security features Powerful Management & Monitoring Rugged industrial DIN rail and Rack mount options Available in Ethernet to fiber Media Converter and Supports full/half duplex operation Support PTP Client (Precision Time Protocol) clock synchronization Available in SM, MM FO. Approved.
|  | C1D1/ATEX Ethernet Switch | Atex Approved Switches | C1D1/ATEX Ethernet Switch : C1D2 and ATEX compliant for harsh industrial environments application World’s fastest Redundant Ethernet Ring: O-Ring (recovery time < 10ms over 250 units of connection) Open-Ring support the other vendor’s ring technology in open architecture Support standard IEC 62439-2 MRP (Media Redundancy Protocol) function Supports Auto Negotiation Speed Support store and forward transmission Triple redundant DC power inputs of terminal block & power jack Support auto-negotiation and auto-MDI/MDI-X Available in Managed, Un-managed, MM, SM
|  | EN50155 Compliant for Railways | EN50155_compliant_for_Railways | EN50155 Compliant for Railways : Leading Railway EN50155-compliant Ethernet switch for rolling stock application Fastest Redundant Ethernet Ring (recovery time < 10ms over 250 units of connection) Multiple Redundant Ethernet technology RSTP/STP/MSTP Supports PTP Client (Precision Time Protocol) clock synchronization Advanced security features Available with POE & Provide PoE power on delay function, users can define delay time for PoE power supply Leading Railway EN50155-compliant wireless access point for rolling stock application High Speed Air Connectivity: WLAN interface support up to 300Mbps link speed Highly Security Capability: WEP/WPA/WPA-PSK(TKIP,AES)/ WPA2/WPA2-PSK (TKIP,AES)/802.1X Authentication supported Secured Management by HTTPs Various kind of WAN Connection Type supported: Dynamic/Static IP, PPPoE, Modem Dial Up Ultra-rugged enclosure M12 connector for toughest industrial usages Wall mounting enabled
|  | Ethernet Extender | Ethernet Extender | Ethernet Extender : Extend Ethernet distance up to 300m (984 feet) over UTP cable or up to 200m (656 feet) over 24AWG none-UTP cable. Supports 2-wired transmission Provided DIP-Switch to selecting Auto/Manual mode for Master/Slave setting Supports Auto mode to auto-negotiation for master/slave mode switching Ethernet port support full/half duplex operation Ethernet port support Auto MDI/MDI-X switching Function Redundant 12~48VDC power inputs with Terminal Block Rigid IP-30 mini-type housing design DIN-Rail and wall mounting enabled
|  | Bypass Switch | Bypass_Switch1 | Bypass Switch : Hardware Bypass redundancy technology naturally and effectively avoids single-point power failure in daisy chain topology or multi-point power failures Support 100M/1G/10G optical bypass function of 2 port duplex or 4 port simplex fiber connection Different models supported for multi-mode or single-mode optical fiber Low insertions loss Throughput not affected and no extra delay Bypass switching time < 10ms Dual wide-range power inputs: 12~48VD
|  | Network Management Software | Network Management Software | Network Management Software : Device configuration scan IP setting group wizard, firmware upgrade group wizard, and redundant ring (O-Ring) setting wizard Status Monitoring and Alarm Network analysis function Draw the whole network topology automatically and path management available Devices can be grouped and managed by different IP ranges ORing MAP technology could show network device locations on Google MAP The health status of connections are automatically checked IP scan to detect al l of the ORing switches in the local network No limitation on the amount of devices to be monitored
| Media Converter | USB- RS-232/422/485 Serial | USBG - RS 232 422 485 Serial | USB- RS-232/422/485 Serial : Fully compliant with USB specification 1.1 High operating temperature range Distance coverage from 2km to 120km Wavelength: 1310nm, 1510nm, 1550m, 1590nm USB bus powered with ultra low power consumption DIN-Rail and wall mounting enabled Opto-isolation upto 3000VDC
|  | RS-232 to RS-485/422 Serial | UL CRB RS 485 RS 422 | RS-232 to RS-485/422 Serial : Fully compliant with USB specification 1.1 High operating temperature range Distance coverage from 2km to 120km Wavelength: 1310nm, 1510nm, 1550m, 1590nm USB bus powered with ultra low power consumption DIN-Rail and wall mounting enabled Opto-isolation upto 3000VDC
|  | Ethernet to FO | Ethernet_to_FO | Ethernet to FO
|  | Device Server | Device Server 2 | Device Server : Operating Modes : Virtual Com, Serial Tunnel, TCP Server, TCP Client, UDP Redundant multiple host devices :5 host devices : Virtual COM, TCP Server, TCP Client mode 4 IP ranges : UDP Supports RS-232/422/485 NAT-PASS through Security: SSL data encryption, HTTPS, SSH Dual redundant Ethernet port support redundant mode(Recovery time < 10ms) Ethernet switch mode enable Daisy Chain Event Warning by Syslog, Email, SNMP trap, and Beeper Configurable by Web-based and Windows utility (DS-Tool) Available in 1/4/8/16 Serial Ports.
|  | UL CRB (RS485/RS422) | UL CRB RS 485 RS 422 | UL CRB (RS485/RS422) : Communication Redundancy board is RS 422/485 redundancy switch. It has optical isolation that protects one segment of network from problems that arises on the other. Data can be switched over Output from either of the port depending on the corresponding data coming from the terminal server port. Supports for RS 422/RS 485-4 Wire/ RS 485-2Wire. (Jumper Link selectable). Opto-isolation : 1.5KV Operation : Point to Point (RS 422), Multi-drop Full Duplex (RS 485-4 W), Multi-drop Half Duplex (RS 485-2 W) Speed : 9.6Kbps TO 38.4 Kbps Channels : 2 CHANNELS LED Indications : Power, Transmit and Receive POWER : 230VAC SIZE : 107[W] * 245[L]* 45[H] mm
| Wireless | Remote Management Solution | Remote Management | Remote Management Solution : Communication gateway with automatic Netbiter Argos connectivity Support for Quad band GPRS communication Device connectivity via Serial RS232 and RS485, 10/100 Mbit/s Ethernet Transparent gateway between serial Modbus-RTUand Modbus-TCP Ethernet. Extendable with on-boardanalog and digital I/Osallows signals & sensors to be directly connected to the Netbitergateway Built-in temperature sensor Status LEDs for diagnostics Can be used with View & Control and Manage & Analyze Netbiter Services Built-in web server for accessing remote data Alarm and Status handler (notifications via E-mail/RSS) Data logging with graphical trend graphs Easy configuration using onboard web pages Password restricted access control Instant connectivity to your remote equipment Supports "Remote Access" — remote programming of a PLC or machine Connectivity Firewall-frien dvilay, GnoS Mfix/eGdP IRPS a/ d5d-rbeasnsde s3.G or via dual-band separated Ethernet Firewall-friendly, no fixed IP addresses. Can be used with local SIM cards if needed Extended memory capacity supporting up to 512 MB Flash and 1024 MB RAM. CE, CULUS, FCC/IC, PTCRB
|  | Wireless Access Points & Bridge | Wireless_Access_Points_Bridge | Wireless Access Points & Bridge : Wireless transmission is made via Bluetooth or WiFi2.4 / 5 GHz versions (dual-band support). Support for redundant wireless networks for critical applications. Easy configuration via push button or via web configuration pages. Provides higher bandwidth (wider frequency range) Point -to-point, Point to Multipoint. Available in different versions for serial communication (RS232/422/485) or industrial Ethernet (for example PROFINET, EtherNet/IP, Modbus-TCP and BACnet/IP). WLAN interface supports up to 54Mbps link speed Industrial IEEE 802.11 a/b/g/n wireless access point with 10/100/1000 Base-T(X). Various kinds of operation modes supported : AP/Bridge/Repeater/ AP-Client/Client mode Various kinds of encryption supported: WEP/WPA/WPA-PSK (TKIP, AES) /WPA2/ WPA2-PSK (TKIP, AES)/802.1X Authentication. Supports X-Roaming < 100 ms, Wireless load balance Wireless connecting status monitoring Versatile modes & event alarm by e-mail HTTPs & SSH protocol supported for secured management IP table to prevent access from unauthorized IP address Built in antenna, External Directional/Omni directional Antenna Rugged design with IP65,IP67-classed housing Range up to 1Km others on request.
|  | Industrial Cellular Router | Industrial Cellular Routers | Industrial Cellular Router : 3.5G WLAN Cellular VPN Router EN50155 3.5G WLAN Cellular VPN Router 4G LTE Cellular VPN Router 4G LTE WLAN Cellular VPN Router EN50155 4G LTE WLAN Cellular VPN Router Modem dial up included Supports HNAT enhance LAN to WAN routing performance Supports 2 x 10 / 100 Base –T(X) port and SIM card slot Supports Open VPN, PPTP VPN Supports DHCP forwarding through PPTP function High Speed Air Connectivity: WLAN interface supports up to 300Mbps link speed Event Warning by Syslog, Email, SNMP Trap, Relay output Highly Security Capability: WEP/WPA/WPA-PSK(TKIP,AES)/ WPA2/WPA2- PSK(TKIP,AES)/802.1X Authentication supported Various kind of WAN Connection Type supported: Dynamic/Static IP, PPPoE, Modem/Dial Up IP table to prevent access from unauthorized IP address Rugged IP67-rated housing
| Fiber Optics (FO) | OPTO Link Armored FO Cable | OPTO Link Armored Fiber Optics Cable | OPTO Link Armored FO Cable
|  | LIU/Patch Panels / Splice Box | LIU Patch Panel 1 | LIU/Patch Panels / Splice Box : Fully Assembled LIU Box with Splice Trays, Pigtails and Adaptors. 4, 6, 8, 12, 16 ,20, 24, 36, 48 FO Ports Choice of SC/ST Adaptors & Pigtails. Din-rail, Wall mount and 19” Rack Mounting options Easy installation
|  | Patch Cords | Patch_Cords_2 | Patch Cords : ST-ST – DUPLEX / SIMPLEX. SC-SC – DUPLEX / SIMPLEX ST-SC – DUPLEX / SIMPLEX. MTRJ-SC – DUPLEX / SIMPLEX MTRJ – ST – DUPLEX / SIMPLEX MTRJ – MTRJ – DUPLEX / SIMPLEX LC – SC – DUPLEX / SIMPLEX
|  | FO Accessories | FO Accessories | FO Accessories
|  | CAN to FO | CAN_-_FO_Media_Converters | CAN to FO : Point to point, Bus or Star system, Ring CAN, DeviceNet Optically redundant CAN,DeviceNet POF, HCS (PCF), multimode, singlemode DIN rail mounting FiberView option for diagnostic.
|  | Analog-Digital I/O to FO | Analog_-_Digital_-_FO_Media_Converters | Analog-Digital I/O to FO : Analog-Digital to FO Analogue signals 0-10V or 0-20mA Digital signals: 12-24VDC bi-directional or relay contacts Point to point system POF, HCS (PCF), multimode, singlemode DIN rail mounting
|  | RS232/422/485 – FO | RS_232_422_485_-_FO_Media_Converters | RS232/422/485 – FO : Point to point, Bus, Star & Ring system on RS232/RS485/RsS422 POF, HCS (PCF), multimode, single mode Protocol transparency Support Modbus RTU Fiber View option for diagnostic.
| Communication Cables | Profibus to FO | Profibus_to_FO | Profibus to FO : Point to point, Bus, Star & Ring system Profibus POF, HCS (PCF), multimode, single mode Optically redundant Profibus Max data rate upto 12 Mbps FiberView option for diagnostic.
|  | Modbus/RS485 Cables | Cables 1 | Modbus/RS485 Cables : Control - PVC/PUR ; Copper & Steel Braided Data Cables - Unshielded & Shielded. Power - Copper/ Aluminum/ Armoured / Un- armoured Robot Cable. Servo System Cables - Power/ Encoder/ Resolver Drag Chain Duty Cable - Power/ Control / Signal Material Handling - Rubber / Flat/ Crane Duty/ Drum Reeling. Co-axial High Temp. Cables - Silicon / FEP / PTEP / Special Compounds Field Bus Cables - Profibus / Profinet / DeviceNet / CAN/ CC-Link/ Ethernet / Interbus / Modbus. Fire Alarm - Armoured / Un - armoured Halogen free Cable - Control / Power / Data / Shielded Welding Cables. Spiral Cables Instrumentation Cables. Circuit Integrity Cables
|  | Profibus / Profinet Cables | Cables 2 | Profibus / Profinet Cables : Control - PVC/PUR ; Copper & Steel Braided Data Cables - Unshielded & Shielded. Power - Copper/ Aluminum/ Armoured / Un- armoured Robot Cable. Servo System Cables - Power/ Encoder/ Resolver Drag Chain Duty Cable - Power/ Control / Signal Material Handling - Rubber / Flat/ Crane Duty/ Drum Reeling. Co-axial High Temp. Cables - Silicon / FEP / PTEP / Special Compounds Field Bus Cables - Profibus / Profinet / DeviceNet / CAN/ CC-Link/ Ethernet / Interbus / Modbus. Fire Alarm - Armoured / Un - armoured Halogen free Cable - Control / Power / Data / Shielded Welding Cables. Spiral Cables Instrumentation Cables. Circuit Integrity Cables
|  | CANBus Cables | Cables 3 | CANBus Cables : Control - PVC/PUR ; Copper & Steel Braided Data Cables - Unshielded & Shielded. Power - Copper/ Aluminum/ Armoured / Un- armoured Robot Cable. Servo System Cables - Power/ Encoder/ Resolver Drag Chain Duty Cable - Power/ Control / Signal Material Handling - Rubber / Flat/ Crane Duty/ Drum Reeling. Co-axial High Temp. Cables - Silicon / FEP / PTEP / Special Compounds Field Bus Cables - Profibus / Profinet / DeviceNet / CAN/ CC-Link/ Ethernet / Interbus / Modbus. Fire Alarm - Armoured / Un - armoured Halogen free Cable - Control / Power / Data / Shielded Welding Cables. Spiral Cables Instrumentation Cables. Circuit Integrity Cables
|  | Device Net Cables | Device_Net_Cable_-_Belden | Device Net Cables : Control - PVC/PUR ; Copper & Steel Braided Data Cables - Unshielded & Shielded. Power - Copper/ Aluminum/ Armoured / Un- armoured Robot Cable. Servo System Cables - Power/ Encoder/ Resolver Drag Chain Duty Cable - Power/ Control / Signal Material Handling - Rubber / Flat/ Crane Duty/ Drum Reeling. Co-axial High Temp. Cables - Silicon / FEP / PTEP / Special Compounds Field Bus Cables - Profibus / Profinet / DeviceNet / CAN/ CC-Link/ Ethernet / Interbus / Modbus. Fire Alarm - Armoured / Un - armoured Halogen free Cable - Control / Power / Data / Shielded Welding Cables. Spiral Cables Instrumentation Cables. Circuit Integrity Cables
|  | Ethernet Cables | Cables 1 (1) | Ethernet Cables : Control - PVC/PUR ; Copper & Steel Braided Data Cables - Unshielded & Shielded. Power - Copper/ Aluminum/ Armoured / Un- armoured Robot Cable. Servo System Cables - Power/ Encoder/ Resolver Drag Chain Duty Cable - Power/ Control / Signal Material Handling - Rubber / Flat/ Crane Duty/ Drum Reeling. Co-axial High Temp. Cables - Silicon / FEP / PTEP / Special Compounds Field Bus Cables - Profibus / Profinet / DeviceNet / CAN/ CC-Link/ Ethernet / Interbus / Modbus. Fire Alarm - Armoured / Un - armoured Halogen free Cable - Control / Power / Data / Shielded Welding Cables. Spiral Cables Instrumentation Cables. Circuit Integrity Cables
|  | CC-Link Cables | Cables 2 (1) | CC-Link Cables : Control - PVC/PUR ; Copper & Steel Braided Data Cables - Unshielded & Shielded. Power - Copper/ Aluminum/ Armoured / Un- armoured Robot Cable. Servo System Cables - Power/ Encoder/ Resolver Drag Chain Duty Cable - Power/ Control / Signal Material Handling - Rubber / Flat/ Crane Duty/ Drum Reeling. Co-axial High Temp. Cables - Silicon / FEP / PTEP / Special Compounds Field Bus Cables - Profibus / Profinet / DeviceNet / CAN/ CC-Link/ Ethernet / Interbus / Modbus. Fire Alarm - Armoured / Un - armoured Halogen free Cable - Control / Power / Data / Shielded Welding Cables. Spiral Cables Instrumentation Cables. Circuit Integrity Cables
|  | ASI- Bus Cables | Cables 3 (1) | ASI- Bus Cables : Control - PVC/PUR ; Copper & Steel Braided Data Cables - Unshielded & Shielded. Power - Copper/ Aluminum/ Armoured / Un- armoured Robot Cable. Servo System Cables - Power/ Encoder/ Resolver Drag Chain Duty Cable - Power/ Control / Signal Material Handling - Rubber / Flat/ Crane Duty/ Drum Reeling. Co-axial High Temp. Cables - Silicon / FEP / PTEP / Special Compounds Field Bus Cables - Profibus / Profinet / DeviceNet / CAN/ CC-Link/ Ethernet / Interbus / Modbus. Fire Alarm - Armoured / Un - armoured Halogen free Cable - Control / Power / Data / Shielded Welding Cables. Spiral Cables Instrumentation Cables. Circuit Integrity Cables